## Munkalap1
Field name	Data type	Unit	Importance	Description	Error field	Calibrated field
__Origin__	string		1	string to uniquely identify the experiment type
__particle__	string		1	Either 'photon' or 'neutron'
Anode	float	counts	1	Anode counts on the gas detector during the measurement	1
BeamPosX	float	pixel	1	Row coordinate of the beam position (“y” when graphed)	1
BeamPosY	float	pixel	1	Column coordinate of the beam position („x” when graphed)	1
Date	datetime.datetime		1	Measurement date (preferably start time)
Dist	float	mm	1	sample-to-detector distance	1	1
Energy	float	eV	1	photon/neutron energy	1	1
FSN	int		1	File sequence number
History	list of (float,string) tuples	list of (epochtime, string) tuples	1	History of operations on the exposure (such as calibrations, corrections etc.)
maskid	string		1	mask ID (usually the form of mask<something>)
MeasTime	float	s	1	Exposure time	1
Monitor	float	counts	1	Monitor counts during exposure	1
PixelSize	float	mm	1	Average pixel size. Not used, only in the absence of XPixel and YPixel
Thickness	float	mm	1	sample thickness	1
Title	string		1	Sample name
Transm	float	1	1	sample transmission	1
Wavelength	float	Å	1	wave length	1	1
XPixel	float	mm	1	Pixel size in the row direction („y” when graphed)
YPixel	float	mm	1	Pixel size in the column direction („x” when graphed)
BeamsizeX	float	mm	2	Beam size in the row direction
BeamsizeY	float	mm	2	Beam size in the column direction
dclevel	float	cps	2	dark current per pixel, to be subtracted.
Detector	string		2	Detector information
FSNdc	int		2	FSN of a dark current measurement
FSNempty	int		2	FSN of an empty beam measurement
FSNref1	int		2	FSN of the first reference measurement (usually GC)
InjectionEB	bool		2	If an injection occurred between the empty beam and sample measurement
InjectionGC	bool		2	if an injection occurred between the GC reference and sample measurement
NormFactor	float		2	The scaling factor to absolute intensity units
NormFactorRelativeError	float	%	2	The relative error percentage of the absolute scaling factor
Owner	string		2	Owner name (who made the exposure)
PosSample	float	mm	2	sample position
PrimaryIntensity	float	cps/mm2	2	Primary intensity (particle flux just before the sample)	1
RotXsample	float	deg	2	Sample rotation
RotYsample	float	deg	2	Sample rotation
ScatteringFlux	float	cps	2	scattering on the 2D detector
Temperature	float	°C	2	temperature
Thicknessref1	float	mm	2	Thickness of the first reference (usually GC)	1
Current1	float	mA	3	Synchrotron ring current at the start of the measurement
Current2	float	mA	3	Synchrotron ring current at the end of the measurement
Day	int	1 to 7	3	The starting day of the experiment
DetPosX	float	mm	3	Detector X position
DetPosY	float	mm	3	Detector Y position
FileName	string		3	Original file name from whence the header was loaded.
FSNref2	int		3	FSN of the second reference measurement (usually AgBeh or another q-calibrant)
FSNsensitivity	int		3	FSN of a sensitivity measurement
Hour	int	0 to 23	3	The starting hour of the experiment
Minutes	int	0 to 59	3	The starting minute of the experiment
Month	int	1 to 12	3	The starting month of the experiment
PosRef	float	mm	3	Reference sample position (first reference)
Year	int	four digits	3	The starting year of the experiment
FSNs	list of ints			list of file sequence numbers (for summarized data)